RFI Number: 11/2026 - BE-V2G and FC-V2G Ecosystem for the Energy Market

[non- confidential /confidential or trade secret]

Response Tables:

3.5 Repliers Information

| ID | Category | Requirement |
| --- | --- | --- |
| 3.5.1 | Respondent | Name, Title, email and other contact information |
| 3.5.2 | Company | Name, Location, website |
| 3.5.3 | Segment | What does your company manufacture which may support V2G ecosystem? (BEV, FCEV, Bus, Truck, Construction and Mining Machinery, Charging Infrastructure, or other) |

4. Required Information

4.1. Vehicle & Hardware Capabilities (Technical Depth)

| ID | Area | Requirement |
| --- | --- | --- |
| 4.1.1 | Bi-directional (V2G) | Do heavy-duty models (2026-2027) support bidirectional charging? Are the battery management system (BMS) and inverters hardware-ready? |
| 4.1.2 | Load Management | What is the maximum number of vehicles or loads your platform can manage concurrently at a single site? Describe any scalability limits. |
| 4.1.3 | Operational Limits | Identify technical limitations regarding V2G/V2X operations (e.g., State of Charge (SOC) thresholds, discharge rate (max output in kW), temperature constraints, or maximum discharge cycles per day). |
| 4.1.4 | Hydrogen (H2G) | For FCEV models, can the fuel cell stack export power back to the grid/facility while stationary? Specify max output (kW) and duration of discharge. |
| 4.1.5 | Lifetime and Warranty | How do V2G cycles affect the expected battery/fuel cell lifetime and warranty? Define "energy throughput" limits. |

4.2. Advanced Communication

| ID | Category | Requirement |
| --- | --- | --- |
| 4.2.1 | Protocols | Does the system support both ISO 15118-20 and IEEE 2030.5? Detail the use of TLS 1.2 and PKI certificates. |
| 4.2.3 | OTA Capability | Does the hardware support Over-the-Air (OTA) updates for security and protocol evolution? |
| 4.2.4 | Response & Latency | Specify the response time (in milliseconds/seconds) to a load change signal. Detail the ramp rate for power discharge and the total latency from signal to execution. |

4.3. Resilience & Emergency Operations

| ID | Area | Requirement |
| --- | --- | --- |
| 4.3.1 | Black Start | Can the system assist in "Black Start" operations—providing initial power to restart a local grid segment during a total blackout? |
| 4.3.2 | Islanding (V2B/V2F) | Describe the capability to operate in "Island Mode" to provide backup power to critical buildings. Clarify if this is possible for a single vehicle or if coupling (parallel operation) of multiple vehicles is supported. |
| 4.3.3 | Workforce | Describe training programs for local Israeli technicians regarding high-power Heavy-Duty charging installation. |

4.4. Local Regulatory & Technical Compliance (Israel Specific)

| ID | Category | Requirement |
| --- | --- | --- |
| 4.4.1 | System Operator (NOGA) | NOGA is currently evaluating various solution for Demand Response (DR). One of the suggested solutions includes scheduling electric vehicles charging from the grid or discharging to the grid (V2G) Describe your system's capability for participation and communication while operating in various DR modes. |
| 4.4.2 | Grid Code | Confirm hardware (inverters) compliance with The Standards Institution of Israel (list of approved inverters can be found in the SII web site) Does your equipment support operation according with EN 50160 standard? |
| 4.4.3 | Smart Metering | IEC (Israel Electric Corporation) operates smart meters that operate at 15-minute resolution. Does your solution support operation in this resolution? How would your solution interface with IEC smart meters for TAOZ (Time-of-Use) billing and revenue-grade metering? |
| 4.4.4 | Cybersecurity | Regulatory Compliance Compatibility NOGA operates critical infrastructure subject to strict national and international cybersecurity regulations, including but not limited to ISO 27001, ISO 27035, ISO 27019, NERC CIP, and IEC 62443. While full compliance certification is not required at the RFI stage, the Agency seeks to understand if the proposed solution is capable of operating within these frameworks. Please provide a brief narrative response to the following: - Regulatory Alignment: Does your organization or solution currently hold certifications or attestations for any of the listed standards (ISO 27001, IEC 62443, etc.)? If not, is the solution designed with these frameworks in mind? - Operational Constraints: Do you foresee any aspect of your solution—specifically regarding remote support, patch management, or network connectivity—that would limit or prohibit the Agency from complying with the strict controls mandated by these regulations? - Data Sovereignty: Can you confirm that your solution architecture supports the requirement for all data processing and storage to remain within national borders or Agency-certified environments? |

4.5. Commercial and Operational Models

| ID | Area | Requirement |
| --- | --- | --- |
| 4.5.1 | Local Presence | Describe your local technical support, implementation partners, and spare parts inventory strategy in Israel. |
| 4.5.2 | Cost Structure | Provide unit cost estimates for bidirectional hardware (CAPEX) and recurring SaaS/Aggregation software fees (OPEX). What are your underlying assumptions regarding pre-deployment preparations and infrastructure requirements that could impact the cost estimates |
| 4.5.3 | Economic Model | Provide an economic model estimate based on current Israeli tariffs (TAOZ). State the necessary regulatory or tariff changes required to make the business case economically viable. TAOZ scheduling and tariffs are available on Electric Authority web site For your convenience, see annex A- translated scheduling and tariffs as of January 2026. |

5. Document Upload (Datasheets, White Papers, Case Studies).

6. Respondent Declaration

I, the undersigned, representative of [Company Name], hereby declare that the information provided is accurate and that I have the authority to submit this response.

Signature: ____________________ Date: ____________________